Park Lane School

Specialist School for Communication and Interaction

Park Lane

FIRE EVACUATION POLICY

AND PROCEDURES

| 1 |  | The action employees should take if they discover a fire - Immediately operate the nearest alarm call-point. - Encourage everyone to evacuate by the safest emergency exit and make their way to the fire assembly point. |
| --- | --- | --- |
| 2 |  | How will people be warned in there is a fire - The electrical fire alarm system will sound on operation of the manually operated alarm call-points or smoke heads will detect the smoke. |
| 3. |  | How the evacuation of the building will be carried out - Contact the office with the radio/walkie talkie to let them know the alarm is sounding (new building). - Everyone should leave the building by the safest fire exit. - If you are on your break in the staff room, you should return to your class and assist with the evacuation if safe to do so. - The lift will not be in operation and anyone in wheelchairs should be assisted to the refugee points located at the top of the stairwell and follow there PEEPS. - Follow the safest fire route to the fire assembly points - Wait for further instructions. |
| 4. |  | Identification of escape routes - All emergency exit doors can be used as escape routes and have emergency lights fitted above. - There is a site plan with routes to take to the fire assembly point at each call point. |
| 5. |  | Firefighting equipment provided - Fire extinguishers are located at the top and bottom of the stair wells and in corridor areas. - Fire blankets in kitchen areas. - These are tested annually. |
| 6. |  | Duties and identity of employees with specific responsibilities in the event of fire. On hearing the alarm: Fire marshals - Get a radio/walkie talkie. - Go to the fire panel to see the location of the alarm. - If safe to do so make their way to the location and assist. - Report to the assembly point. All staff will usher pupils out of the building and to the assembly points. Teachers (which will be the person in charge of the class at the time) - Check their area is cleared of pupils and staff. - Check all doors and windows are closed. - Report to the assembly point. - A roll call is made to ensure everyone is out. - Report to the fire marshal. |
| 7. |  | Arrangements for the safe evacuation of people such as contractors, members of the public and visitors. - Visitors/ parents / contractors: the host / employee must take responsibility for anyone they may have in school and ensure they leave the building by the nearest exit and go to the assembly point. |
| 8. |  | How will the Fire Service and any necessary emergency services be called and who will be responsible for doing this. - On hearing the alarm there will be a signal sent to a monitoring station who will contact the school office to determine if it is a false alarm or real fire. They will then Dial 999 and ask for the Fire Service or other emergency service as appropriate. |
| 9. |  | Procedures for liaising with the Fire Service on arrival and notifying them of any specific risks and the location of the fire - The fire marshals will liaise with the Fire Brigade on their arrival. |
| 10. | The following arrangements and training is given to staff at school: - All staff - fire drills once a term. - All staff – to read the fire policey once a year. - To complete the fire awareness training (online) - Record of training to be kept with in fire logbook. - Training to be reviewed on a yearly basis. |  |
| 11. |  | Evacuation of the swimming pool: - On hearing the alarm, the pool side assistant must get the radio from the cupboard and wait for communication with the fire marshal. - Wait for instructions to evacuate. |
| 12 |  | Policy It is the school policy to review, maintain and service the following - Fire alarm system annually (25% is done every 3 months) - Firefighting equipment annually. - Emergency lighting monthly. - Lightening conductors annually. - P.A.T testing annually. - Fire risk assessment to be reviewed every 3 years. |